File	Name:	SOL3BIS

Created:	12.10	07/05/15

Data:	Original

Measuring	Mode:	Abs.

Scan	Speed:	Medium

Slit	Width:	2.0

Sampling	Interval:	1.0

No.	Wavelength	(nm.)	Abs.

1	329.00	0.375

2	274.00	0.953

3	239.00	3.039