File	Name:	ACIDA

Created:	09.43	04/06/15

Data:	Original

Measuring	Mode:	Abs.

Scan	Speed:	Medium

Slit	Width:	2.0

Sampling	Interval:	1.0

No.	Wavelength	(nm.)	Abs.

1	328.00	0.376

2	285.00	0.666

3	274.00	0.904

4	224.00	3.215

File	Name:	NASICA

Created:	10.08	04/06/15

Data:	Original

Measuring	Mode:	Abs.

Scan	Speed:	Medium

Slit	Width:	2.0

Sampling	Interval:	1.0

No.	Wavelength	(nm.)	Abs.

1	346.00	0.635

2	282.00	1.312